Valdosta/Albany Hearing Aid Centers
	Valdosta Hearing Center

1310-B Baytree Rd. 

Valdosta, GA 31602
1-800-216-8775


	Albany Hearing Aid Center 

307 Grand Island Dr. Suite 3 

Albany, GA 31707
(229-434-0213)

	Date:
	Telephone:


	Name & Address:


	Shipping Address:


Name: (First & Last)_________________________________Amount Enclosed:___________Check#____

	Make:
	Model:
	Serial #:


	Condition

Please check all that apply
(  Dead

(  Contact Broken

(  Fades

(  Distorted

(  Bad Volume Control

(  Excessive Battery Drain

(  Canal Hurts

(  Intermittent

(  Mic-Tel Switch

(  Weak

(  Feedback

(  Noisy

· Other:
                ___________________________________________________________________________________


Repair Service

Service includes 6 month warranty.  Select one for each ear below (Mandatory)
	In the ear
	$95

	Completely in the canal
	$95

	Behind the ear
	$95

	All digital and programmable
	$140


Important: FOR REPLATES, RESHELLS OR CIRCUIT UPGRADES PLEASE ENCLOSE AN AUDIOGRAM

	PATIENTS HEARING AID HISTORY

                                      Left Ear     Right Ear

Previous User                  (  Yes (  No    (  Yes (  No
Hearing Aid(s) Model         ______     ______

Gain              HF Gain         ______      ______

Output           SSPL 90         ______      ______

Venting:         (  None      (  Small      (  Medium      (  Large
Volume Control Setting at Use Gain (  ¼  (  ½  (  Full On

AUDIOGRAM KEY

                            Right   Left                           Right   Left

AC Unmasked        (        X       AC Masked      (         (
BC Unmasked        <        >       BC Masked       (         (
No Response          __      __
Speech Test Results

Audiometer Used ____________________________________

Results Reported In  (  HL    (  SPL

                                                                Left     Right   Binaural

SRT (Speech Reduction Threshold)        ___db  ____db ___db

MCL (Most Comfortable Level)             ___db  ____db ___db

UCL (Uncomfortable Level)                   ___db ____db ___db

Discrimination in Quiet Speech Level     ___db ____db ___db

                                                SCORE     ___%  ____% ___%


[image: image1.emf]
Valdosta Hearing Aid Center


1310-B Baytree Rd.


Valdosta, GA 31602








